## Slide 1: ICU CURRICULUM
Cardiogenic Shock
and
Mechanical Circulatory Support

## Slide 2: Definition of Cardiogenic Shock
Cardiac dysfunction with an inability of the LV to maintain an adequate cardiac output (CI <2.2) despite normal to elevated pre-load
PCWP >15
SBP < 90 mmHg for >30 min or catecholamines required
Impaired organ perfusion:
  AMS
  UOP <30 mL/h
  Cold/clammy extremities
  Lactic acid > 2

## Slide 3: Cardiogenic Shock
Cardiogenic shock is most commonly caused by AMI (AMI-CS) or acute decompensated HF (HF-CS).
There are different classifications of CS based on the cause (Killip class, NYHA, INTERMACS)

## Slide 4: Heart Failure Severity after Acute MI

## Slide 5: Defining Advanced Heart Failure

## Slide 7: The Benefits of Mechanical Support
Vital organ perfusion in a shock state
Reduce intracardiac filling pressures reducing congestion
Reduce LV wall stress, LV volumes, myocardial O2 consumption
Augment coronary perfusion
Support circulation during high risk procedures and/or EP procedures
Limit infarct size

## Slide 8: Mechanisms

## Slide 9: When is Mechanical Support Used?
Acute MI and all the complications of it
  Cardiogenic shock, acute MR, VSD
Severe Heart Failure in Non-Ischemic Cardiomyopathy
Cardiac graft failure, post-transplant RV failure, slow to wean from Bypass
Refractory Arrythmias
High-Risk PCI
Complex VT ablation
High-risk valve surgeries

## Slide 10: The Types - Simple
Intra-Aortic Balloon Pump (IABP)
Impella
ECMO
TandemHeart
Total Artificial Heart (TAH), Jarvik
Centrimag - temporary
Heartmate - durable

## Slide 12
Content

## Slide 13: RV Support (not discussed)
Content
Content

## Slide 14: Intra-aortic balloon pump (IABP)
The most commonly used
2 parts: Balloon and control
7.5 Fr – 8Fr (Slightly bigger than a triple lumen CVC, 7Fr)
Filled with helium – low weight, easy to pump in and out. Absorbs into blood quickly in case of rupture
Principle of counterpulsation:
  Balloon goes up in diastole. Balloon goes down in systole
  Up in T-wave, Down in R wave

## Slide 15: Counterpulsation of IABP – The Good
Balloon inflates in diastole
Augmentation of diastolic pressure
Increases coronary perfusion
Balloon deflates in systole
Decreases afterload, myocardial consumption
Increases CO (0.5-1L)

## Slide 16: The Bad
Contraindications
  Aortic Regurgitation
  Severe PAD
  Aortic Dissection
Complications
  Thrombocytopenia
  Immobility
  Vascular issues/Stroke/Bowel Ischemia/AKI
  Balloon Rupture

## Slide 17: The Impella
Microaxial motor – Archimedes Screw Pump
2.5 (12F), CP (14F), 5.0/5.5 (21F)
Pigtail on one side
  Protects the positioning
Purge solution
  D20, D10?, D5, Heparin, Bicarbonate

## Slide 18: The Impella
Unloads LV, non-pulsatile flow into the aorta
CO: 2 to potentially 5.5L (CP maxing around 4L/min)
Reduces wall stress and unloads more than IABP
The Good
The Bad
Contraindications:
  Mechanical aortic valve
  LV thrombus
  Aortic regurgitation
  Severe AS* (relative unless valve can be crossed with wire)
  Aortic dissection
Complications:
  Bleeding
  Hemolysis
  Thrombosis
  Limb ischemia

## Slide 19: MCS Devices and Cardiac Flow

## Slide 20: Mechanical Support is a bridge to somewhere...
Content
Notes: https://www.ahajournals.org/doi/10.1161/CIR.0000000000001076

## Slide 21: Guidelines
ACC/AHA
ESC

## Slide 22: Timing: Door to Unload